| TRAINING OCCUPATION: ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |  |
| --- | --- | --- | --- |
| CWP 2: ELECTRICAL BUILDING WIRING |  |  |  |
| CU 2.2 : THREE PHASE WIRING |  |  | CODE: |
| Work Activity 1 | Identify three phase wiring specifications and procedures |  | 12 |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedure of evaluation on site for wiring work. - Explain to interpret of layout drawing in produce shop/drafting drawing. - List type of conductor: - Copper - Aluminium - List types of cable, such as: - PVC, - PVC/PVC, - Fire Resistance (FR), - PVC/SWA/PVC. - Explain cable colour coding according to MS IEC 60364 Standard. - Describe function and construction of protection devices, such as: - MCB,MCCB - RCCB/ELCB - Fuse - Explain method of three phase wiring, such as: - Surface wiring, - Conceal wiring, - List type of three phase wiring, such as: - Conduit wiring, - Ducting wiring, - Trunking/Casing, - Cable tray, - Underground. - Explain wiring fitting and accessories, such as: - Switches - Power Point (S/S/ 13A) - Describe Electrical Act & Regulation and Standard guide for three phase wiring, such as: - Energy Commission Act 2001, - Electricity Supply Act 1990 (Act 447), - Electrical Regulation 1994, - MS IEC 60364, - MS 1936: 2006 guide to MS IEC 60364, - MS 1979: 2007 Electrical Installation of Buildings – Code of practice - Based on latest instruction by regulatory body - Explain safety and health requirement according to Occupational Safety & Health Act 514 (OSHA) 1994. - List authorisation requirement to access site, such as: - Green card, - Safety passport. - Explain safety and emergency procedure, such as: - First aids - Handle electrical shock - CPR - Fire extinguisher |  |  |  |
| Work Activity 2 | Identify three phase wiring tools, equipment and materials |  | 12 |
| Learning Objectives At the end of learning session the apprentice will be able to: - List wiring tools, equipment and materials (TEM). - List three phase wiring TEM checklist preparation. - List of TEM inspection method for three phase wiring. |  |  |  |
| Work Activity 3 | Carry out wiring activities |  | 12 |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain function of wiring tools, equipment & materials. - Explain three phase wiring Standard Operating Procedure for each type of wiring, such as: - Conduit wiring, - Ducting wiring, - Trunking/Casing, - Cable tray, - Underground. - Explain cable marking technique. - Explain cable size relation with current carrying capacity and voltage drop. |  |  |  |
| Work Activity 4 | Carry out three phase earthing system installation |  | 12 |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain method of earthing system, such as: - TT - TN-C-S - TN-C - TN-S - IT - Describe function of earthing. - List out type of earth electrode. - Explain earthing installation procedure. - List type of earth test, such as: - Earth resistance test, - Earth loop impedance test. - Explain part of earthing system, such as: - Earth Continuity Conductor (ECC) - Earth terminal, - Earth lead, - Earth chamber, - Earth electrod. - Explain electrical earthing accessories & fitting. - Explain to interpret Earthing layout. |  |  |  |
| Work Activity 5 | Carry out three phase Distribution Board (DB)(metallic or insulated) installation |  | 12 |
| Learning Objectives At the end of learning session the apprentice will be able to: - List type of Distribution Board (metallic or non-metallic)/ Consumer unit. - List component of DB/ Consumer unit. - List type of tools and equipment for three phase Distribution Board (metallic or non-metallic)/ Consumer unit installation. - Explain internal wiring of DB/ Consumer unit. |  |  |  |
| Work Activity 6 | Carry out fitting and accessories installation |  | 12 |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain location of electrical fitting and accessories refer to three phase wiring drawing - Explain function of electrical fitting and accessories. - Explain technique of fixing electrical fitting and accessories. - Describe terminate cables procedure to electrical fitting and accessories. |  |  |  |
| Work Activity 7 | Carry out wiring system visual inspection |  | 8 |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain scope of visual inspection refer to shop/drafting drawing, such as: - Alignment - Measurement - Appearance - Connection and termination |  |  |  |
| Work Activity 8 | Carry out dead circuit test |  | 4 |
| Learning Objectives At the end of learning session the apprentice will be able to: - List types of final wiring circuit, such as: - Power circuit, - Lighting circuit, - Compound lighting circuit. - Explain Electrical Testing procedure for dead circuit, such as: - Insulation resistance test (IRT) - Polarity test, - Earthing continuity test, - Earthing test (Such as: Earth resistance test, Earth loop impedance test) - Explain testing instrument standard operating procedures (SOP). - List testing result for dead circuit. |  |  |  |
| Work Activity 9 | Carry out live circuit test |  | 4 |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain ELCB/RCB functioning testing procedure. - Explain supply voltage test procedure.\ - Explain Electrical Testing procedure for live circuit, such as: - Live polarity test, - Live continuity test. - Explain testing instrument standard operating procedures (SOP). - List testing result for live circuit. |  |  |  |
| Work Activity 10 |  | Prepare three phase work activities report | 6 |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedure to produce wiring report. - Explain to produce ‘As built’ drawing preparation. - Elaborate test result according to company’s format. - Explain procedure to submit three phase wiring document for client’s approval, such as: - As-built drawing, - Wiring report, - Test result - Explain preparation of completion form (Form G) and testing form (Form H) according to regulatory bodies and tender requirements. |  |  |  |
| TOTAL (CU 2.2 : THREE PHASE WIRING) |  |  | 94 |