| TRAINING OCCUPATION: ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |
| --- | --- | --- |
| CWP 3: ELECTRICAL MOTOR AND MOTOR CONTROL INSTALLATION |  |  |
| CU 3.2 : THREE PHASE MOTOR & MOTOR CONTROL INSTALLATION |  | CODE: |
| Work Activity 1 | Identify three phase motor & motor control installation specifications and procedures | Duration: 6 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain the function for each type of three phase motors, such as: - Squirrel cage induction motor - Slip ring motor - Synchronous motor - List three phase motor parts, such as: - Bearing, - Brush - Shaft - Rotor - Stator - Slip ring - winding - Explain application of three phase motors control according to type below:- - Direct Online (DOL) - Star Delta (SD) - Auto Transformer(AT) - Rotor Resistance Starter - Soft Starter - Inverter starter - Explain three phase motor control components, such as: - Magnetic contactor - push button - overload relay & 8 pin relay A/C - connector - terminal block - MCB & MCCB - Timer Delay Relay (TDR)- auxiliary contact, latching relay - pilot lamp or indicator lamp (HRC Fuse, Resistor bank, Auto transformer) - Describe Electrical Act & Regulation and Standard and regulation for three phase installation, such as: - Electrical Regulation 1994 - MS IEC 60364 - MS 1936: 2006 Guide to MS IEC 60364 - MS 1979: 2007 Electrical Installation of Buildings – Code of practice - Based on latest instruction by regulatory body - Occupational Safety & Health Act 514 (OSHA) 1994 requirement for three phase motor installation. - List authorisation requirement to access site for three phase motor and motor control installation, such as: - Green card, - Safety passport. |  |  |
| Work Activity 2 | Prepare three phase motor and motor control installation, maintenance, tools, equipment and materials | Duration: 8 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - List type of motor circuit and motor control diagram, such as: - Three line drawing - block drawing - blue print drawing - shop drawing - layout drawing - as built drawing - Describe procedure to draw main circuit and control circuit (Shop drawing) according to motor circuit and motor control diagram. - Explain procedure to produce as built drawing for three phase motor installation. - Describe purpose of as built drawing for three phase motor installation. - List location of motor & motor control installation devices including: - Platform structure - Underwater - Surface - Weather proof - Protection devices - Sensing devices - List type of maintenance for Three phase motor & motor control, such as: - Periodically check - Preventive maintenance - Corrective maintenance - List type of installation tools, equipment and materials for Three phase motor & motor control, such as: - Hand tools - Power tools - Instrument - Equipment - Explain purpose of three phase motor & motor control testing instrument, such as: - LCR meter - To check microfarad uf capacitor - Rotation meter - To confirm phase rotation RED, YELLOW & BLUE - Multimeter - Measure AC/DC, ohms and continuity - Insulation tester meter - Insulation test for phase to phase, phase to earth , phase to neutral to confirm insulation of conductor are good condition and resistant - Tacho meter |  |  |
| Work Activity 3 | Carry out three phase motor installation | Duration: 6 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Elaborate circuit diagram for three phase motor installation. - List three phase motor and control symbols. - Explain three phase motor sizing & rating. - Explain function of three phase motor control panel accessories. - Explain three phase motor starter functionality of: - Main circuit - Control circuit. - Explain three phase motor installation procedure. |  |  |
| Work Activity 4 | Carry out three phase motor control termination and connection | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain three phase motor and motor control termination & connection procedure. - List types of three phase motor and motor control connection circuit, such as: - Direct On Line (DOL), - forward/reverse, - Soft starter, - Star-delta - Auto transformer - Rotor resistance - List tools of three phase motor and motor control for connection and fitting works. - Describe operation of three phase motor and motor control hand and power tools. - Describe three phase motor and motor control marking and labelling procedure. |  |  |
| Work Activity 5 | Inspect three phase motor and motor control functionality | Duration: 6 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Describe application of protection devices for three phase motor and motor control. - Explain three phase motor and motor control functionality inspection methods, such as: - Visual inspection, - Physical Check. - Explain testing procedure of three phase motor and motor control, such as: - Insulation - Continuity - Polarity - Earthing - Load test (Speed and current) - Over load relay test - Explain functionality of three phase motor and motor control according to specification/ operation manual. |  |  |
| Work Activity 6 | Record three phase motor and motor control installation. | Duration: 2 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain three phase wiring motor and motor control recording procedure. - Explain three phase motor and motor control record testing format. - Explain three phase motor and motor control report submission procedure. |  |  |
| TOTAL (CU 5.2 : THREE PHASE MOTOR & MOTOR CONTROL INSTALLATION) |  | Duration: 32 Hours |