Continues Assessment Sheet for Apprentice – Accredited Center (Company)

LEARN AND WORK ASIGNMENT (LWA)

| Sub Sector | ELECTRICAL POWER |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Training Occupation / Job Area | ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |  |  |  |  |  |  |  |  |  |  |
| Competency Unit Title | THREE PHASE ELECTRICAL APPLIANCES MAINTENANCE |  |  |  |  |  |  |  |  |  |  |  |  |
| Competency Unit Descriptor | Electrical appliances maintenance is a set of competency to carry out repair work and maintenance on electrical appliances faulty by referring to appliances service manual and standard operating procedures and in compliances with Electrical Act 1990, Electrical Regulation 1994 and other related rules and regulations body and statutory requirements. The personnel who are competent in the electrical appliances maintenance must be able to identify appliances specification and manuals, carry out maintenance activities and to conduct polarity, insulation, resistance and earthing resistance testing in accordance with manufacturer’s specification requirements. |  |  |  |  |  |  |  |  |  |  |  |  |
| Competency Unit Code |  | Competency Type |  | Core | Level |  | 3 |  | Duration | 54 |  | Credit Hours |  |
| Social Values & Social Skills: | Compliance - Conceptual skills - Learning skills |  | Self-reliance - Learning skills - Multitasking and prioritizing |  |  | Cooperation - Communication skills - Interpersonal skills - Teamwork |  |  |  |  | Punctuality - Leadership skills - Self-discipline |  |  |
| Tools/ Technologies, Equipment and Materials (TEM) |  |  |  |  |  |  |  | Ratio (TEM : Apprentices) |  |  |  |  |  |
| - Schematic diagram - Block Diagram - Measuring and Test Instruments - Components/Parts Specification - Distribution Boards - Trunking Tools - Equipment Data Book - Electrical Equipment - Electrical Mechanical tools - Electrical hand tools - Electrical power tools - Electrical Accessories - Electrical Fittings - Electrical Testing Instrument - Double Insulated cable - Wiring materials - Cables - PVC Tape |  |  |  |  |  |  |  | 1 : 1 1 : 1 1 : 1 1 : 1 1 : 2 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 |  |  |  |  |  |
| References/ Information Source |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Undang-Undang Malaysia. 2005. Akta Bekalan Elektrik 1990 dan Peraturan-Peraturan Elektrik 1994, Pindaan sehingga 2005. MDC Publisher Sdn Bhd Malaysia. - Suruhanjaya Tenaga Malaysia. Standard Pendawaian Malaysia (Electrical Installations Of Buildings - MS IEC 60364) Jabatan Standard Malaysia - The Institution of Electrical Engineers, 1998, Peraturan-Peraturan bagi Pemasangan Elektrik, Edisi 16. Golden Books Centre Sdn Bhd - BS 7671: 2001 Requirements for Electrical Installations (IEE Wiring Regulations, Sixteenth Edition) Institution of Electrical Engineers - R.Boylestad and L.Nashelsky. (1996). Electronic Devices and Circuit Theory. Prentice Hall- Gale - Albert Paul Malvino and Donald P. Leach. (1994). Digital Principles And Application. McGraw-Hill. (ISBN: 0028018214) - Joseph A. Risse. (1968). Understanding electronic test equipment. H. W |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instructions, Guiding Questions & Hints Use the following instructions, guiding questions and hints in assisting you to complete the above assignment - Setting Goal: Identify three phase electrical appliances requirement (if need perform site) - Identify types of maintenance activities to be performed either Preventive (plan / Condition) or Break Down. - refer to schedule provided for Preventive maintenance - Identify Report of maintenance or break down - Identify faulty electrical parts of three phase appliances to be maintained (Motor, fan lamp, refrigerator, washing machine) - Interpret appliances schematic diagram and manual to be maintained. - Make sure portray the attitude listed below when performing this cycle’s activities. Attitude: - Proactive in obtaining manufacturer’s specification and operation manual - Planning: Plan the requirement for three phase electrical appliances maintenance work activities - Acquire maintenance tools, equipment and materials (screw, fuse, cable lug, cable) - Determine electrical testing equipment: - Insulation test - Continuity test - Phase sequence test - Obtain electrical appliances manufacturer’s specification and operation manual. - Identify P.P.E. to perform the activities. - Decision Making: Prepare the requirement for three phase electrical appliances maintenance work activities by present the work plan to coach before executing the assignment - Acquire maintenance tools, equipment and materials (screw, fuse, cable lug, cable). - Determine electrical testing equipment : - Insulation test - Continuity test - Phase sequence test - Obtain electrical appliances manufacturer’s specification and operation manual. - Identify P.P.E. to perform the activities. - Executing and Monitoring: Perform three phase electrical appliances maintenance - Inspect three phase appliances according to schematic diagram and manual - Use proper test equipment according to the procedure. - Check/ trouble shoot appliances and ensure the data result within specification - Check wiring - Check part and components - Check terminal phase - Check/ trouble shoot protection device and ensure the data result within specification - Test functional of over current device - Test functional of fuse/ circuit breaker - Test functional of earth fault device - Rectify the faulty electrical part of appliances - Repair or Replace the faulty parts - Prefer use certification part from SIRIM - Make sure portray the attitude and adhere to the safety listed below when performing this cycle’s activities. Attitude: - Handle equipment with care - Peruse the manufacturer’s specification and operation manual for the - Thoroughly in inspecting faulty Safety: - Used appropriate PPE - Meticulous in interpreting calibration certificate - Handle wiring tools, equipment and testing tools with care - Ensure tools and equipment in good working condition - Comply to rules and regulation - Use tools, equipment and material properly - Display safety sign board - Lock main switch - Evaluating: Evaluate the maintained three phase electrical appliances performance with your coach. - Execute functionality testing to confirm maintenance worked result according to specification requirement. - Conduct insulation testing - Conduct continuity testing - Conduct polarity testing - Conduct phase sequence testing - Rectify / Coordinate rectification work for non-compliance test result. - Record the testing result in maintenance form - Ensure the format according to consumer/ company’s requirement - Prepare maintenance result report - Compile maintenance result report - Submit maintenance result report to superior. - Make sure portray the attitude and adhere to the safety listed below when performing this cycle’s activities. Attitude: - Proactive in maintenance work Safety: - Comply to rules and regulation - Ensure ‘OFF live supply - Handle care spare part and install correctly |  |  |  |  |  |  |  |  |  |  |  |  |  |