| TRAINING OCCUPATION: ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |
| --- | --- | --- |
| CWP 1: ELECTRICAL BUILDING WIRING INSTALLATION DRAWING |  |  |
| CU 1.1 : SINGLE PHASE DRAWING |  | Code : |
| Work Activity 1 | Identify Single phase Drawing Specifications and Requirement | Duration: 8 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedure of site visit and evaluation. - Describe technique to produce layout drawing. - Describe diversity factor according to type of premise, such as: 3.1 Domestic, 3.2 Industry. - Derive type of design calculation for: - Total connected load (TCL), - Maximum Demand (MD), - Diversity factor. - Understand to interpret Bill of quantity (BQ). - List out type of conductor, such as: - Copper, - Aluminium. - List type of wiring cable, such as: - PVC, - PVC/PVC, - Fire Retarded (FR), - PVC/SWA/PVC. - List function of protection devices, such as: - MCB,MCCB, - RCCB/ELCB, - Fuse. - List type of single phase wiring, such as: - Surface wiring, - Conceal wiring, - Conduit wiring, - Conceal conduit Wiring, - Ducting wiring, - Trunking/Casing, - Cable tray, - Underground. - List method of Earthing / grounding system. - List type of Electrical Act & Regulation and Standard guide for single phase wiring, such as: - Energy Commission Act 2001, - Electricity Supply Act 1990 (Act 447), - Electrical Regulation 1994, - MS IEC 60364, - MS 1936: 2006 guide to MS IEC 60364, - MS 1979: 2007 (COP) Electrical Installation of Buildings – Code of practice (COP) - Based on latest instruction by regulatory body - List type of safety and health requirement according to Occupational Safety & Health Act 514 (OSHA) 1994. |  |  |
| Work Activity 2 | Carry out layout drawing | Duration: 12 hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - List type of drawing instrument set. - Explain application of drawing software. - Explain procedure to draw layout drawing. - Explain format of layout drawing. - Explain procedure to operate computer/ software. - Explain measurement scale technique of drawing. - List building layout symbol. - List electrical accessories and fittings symbols. - Explain configuration application technique between layout symbols and circuit system to produce shop/drafting drawing. |  |  |
| Work Activity 3 | Carry out three line / schematic diagram drawing | Duration: 12 hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Describe single line/schematic diagram drawing requirements and specifications as per rules and regulation. - Describe devices and cable specification, such as: - Switches, - Protection, - Cable, - Socket outlet (Switch / Un-switch). - Describe circuit connection method. - List types of single phase wiring. - List electrical circuit symbol. - Explain procedure to draw single line drawing. - Explain format of single line drawing. |  |  |
| Work Activity 4 | Carry out single phase wiring drawing | Duration: 8 hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - List type of wiring accessories. - Describe single phase wiring connection, terms and specification. - List single phase wiring protection. - Explain earthing system layout. - Explain to choose cable size referring to IEC standard. - Explain specification and regulation of single phase wiring. - Describe procedure to draw single phase drawing. - Describe format of single phase wiring drawing. |  |  |
| Work Activity 5 | Inspect single phase drawing | Duration: 4 hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - List types of drawing. - Explain company’s procedure to check drawing error. - Explain Drawing specification requirement. - Elaborate drawing specification based on Total Connected Load (TCL) and Maximum Demand (MD). - Elaborate tender and clients requirements as demand. - Explain procedure to submit single phase wiring drawing for utilities approval. |  |  |
| TOTAL HOURS (CU 1.1 : SINGLE PHASE DRAWING) |  | 44 hours |