| TRAINING OCCUPATION: ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |
| --- | --- | --- |
| CWP 4: ELECTRICAL INSTALLATION TESTING & COMMISSIONING |  |  |
| CU 4.1 : SINGLE PHASE WIRING TESTING AND COMMISSIONING |  | CODE: |
| Work Activity 1 | Identify single phase wiring testing and commissioning specifications and procedures | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedure of evaluation on site for single phase wiring testing and commissioning - Elaborate single phase schematic diagram for testing and commissioning - Explain technique to conduct testing and commissioning on single phase electrical wiring. - List types of testing for single phase wiring - Insulation - Polarity - Continuity - Earthing - List types of testing tool and equipment for single phase wiring - Elaborate type of testing and commissioning form for single phase wiring - Explain function of safety regulation bodies to monitoring testing and commissioning for single phase wiring - Describe Electrical Act & Regulation and Standard for single phase wiring testing and commissioning such as - Electricity Supply Act 1990 (Act 447) - Electrical Regulation 1994 - MS IEC 60364 - MS 1936: 2006 guide to MS IEC 60364 - MS 1979: 2007 Electrical Installation of Buildings – Code of practice - Based on latest instruction by regulatory body - Describe Occupational Safety & Health Act 514 (OSHA) 1994 for single phase wiring of testing and commissioning. - List authorisation requirement to access site such as: - Green card - Safety passport |  |  |
| Work Activity 2 | Prepare single phase wiring testing and commissioning tools, equipment and materials | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - List single phase schematic diagram. - List tools, equipment and materials used for single phase testing and commissioning - Elaborate procedure to obtain commissioning form |  |  |
| Work Activity 3 | Carry out single phase insulation resistance testing | Duration: 8 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedures to carry out single phase insulation resistance test. - List type of tools, equipment and material for single phase insulation resistance test - Elaborate verification process of testing data result for single phase insulation resistance test. |  |  |
| Work Activity 4 | Carry out single phase polarity testing | Duration: 8 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedures to carry out single phase polarity test. - List type of tools, equipment and material for polarity test - Elaborate verification process of testing data result for polarity test |  |  |
| Work Activity 5 | Carry out single phase continuity testing | Duration: 6 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedures to carry out single phase continuity test. - List type of tools, equipment and material for single phase continuity test - Elaborate verification process of testing data result for single phase continuity test |  |  |
| Work Activity 6 | Carry out single phase earthing resistance testing | Duration: 6 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedures to carry out single phase earthing resistance test. - List type of tools, equipment and material for single phase earthing resistance test - Elaborate verification process of testing data result for single phase earthing resistance test |  |  |
| Work Activity 7 | Carry out testing and commissioning | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain single phase wiring test and commissioning procedure - Elaborate single phase electrical testing and commissioning documentation. - Elaborate verification process of testing data for record. |  |  |
| Work Activity 8 | Prepare testing and commissioning report | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedure to compile and gathered all testing result for single phase wiring. - Explain procedure of test run for testing and commissioning complete with live testing, such as: - Incoming Supply variation (Voltage Test), - RCD test, - Functional test - Elaborate report for testing and commissioning report for single phase wiring according to: - Standard form from regulator body - Formatted form from company’s - Explain preparation for submission single phase wiring report to relevant agency(s) |  |  |
| TOTAL (CU 4.1 : SINGLE PHASE WIRING TESTING AND COMMISSIONING) |  | Duration: 44 Hours |