| TRAINING OCCUPATION: ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |
| --- | --- | --- |
| CWP 4: ELECTRICAL INSTALLATION TESTING & COMMISSIONING |  |  |
| CU 4.3: ELECTRICAL SIGNAGE (NEON) INSTALLER |  | CODE: |
| Work Activity 1 | Identify electrical signage (neon) installation requirement | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedure site survey for location. - Explain procedure approval letter from BOMBA and regulatory body. - Explain for signage size as per-required by client (height, length & width). - Explain procedure installation fireman-switch and control switch as per requirement by BOMBA and Energy Commission (ST). |  |  |
| Work Activity 2 | Plan Electrical signage (neon) installation & maintenance activities | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedure to produce drawing, such as: - Survey drawing - Layout drawing - Single line drawing - schematic diagrams - Key plan - Location plan - Site plan - As built drawing - Explain protection devices functioning. - Explain installation procedure of platform structure & concrete base. - Explain procedure of setting for pylon to construct billboard. - Explain procedure of main frame earthing. |  |  |
| Work Activity 3 | Carry out electrical signage (neon) installation | Duration:8 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedure of marking & measurement between neon tube to fulfil billboard requirement. - Explain electrical signage (neon) holder according to tube design installation. - Explain installation procedure of: - neon tube on holder, - Notice board - BOMBA switch - Control switch - Explain technique of connection and termination neon tube. - Explain technique of earthing system for neon signage. - Explain testing procedure of circuit and equipment for electrical signage (neon) - Insulation resistance test - Earth resistance test - Polarity test - Ratio test on transformer - Explain procedure of residual Current Devices (RCD) tester. |  |  |
| Work Activity 4 | Carry out electrical signage (neon) maintenance | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain maintenance procedure of electrical signage, such as: - Tube neon - Structure - Connection and termination, - Explain inspection procedure of electric signage, such as: - Air cracks - Leaking - Termination oxide (corrosive) - Explain testing procedure of electrical signage (neon), such as: - Insulation resistance test - Earth resistance test - Polarity test - Radio Test On Transformer - Residual Current Devices (RCD) tester - Fireman switch functional test - Control switch functional test |  |  |
| Work Activity 5 | Prepare electrical signage (neon) installation & maintenance report | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain procedure to write technical report for electrical signage (neon). - Explain submission procedure of electrical signage (neon) report for inspection notice. - Explain procedure to prepare ‘As built’ electrical signage (neon) drawing. |  |  |
| TOTAL (CU 4.3: ELECTRICAL SIGNAGE (NEON) INSTALLER) |  | Duration: 24 Hours |