| TRAINING OCCUPATION: ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |
| --- | --- | --- |
| CWP 5: ELECTRICAL MAINTENANCE & TROUBLESHOOTING |  |  |
| CU 5.1 : SINGLE PHASE WIRING MAINTENANCE |  | CODE: |
| Work Activity 1 | Identify single phase wiring maintenance requirement | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain single phase wiring maintenance activities, such as: - Preventive - Corrective - Explain electrical fault for single phase wiring, such as: - Shorted circuit-over current, - Over load, - Earth fault- leakage, - Open circuit, - Loose termination. - Explain trigger single phase wiring schematic diagram for single phase wiring maintenance work. - Explain procedure to carry out site visit for single phase wiring preventive maintenance. - Explain procedure to carry out single phase wiring maintenance. - Describe Electrical Act & Regulation and Standard for maintenance work, such as: - Electrical Regulation 1994 - MS IEC 60364 - MS 1936: 2006 Guide to MS IEC 60364 - MS 1979: 2007 Electrical Installation of Buildings – Code of practice - Based on latest instruction by regulatory body - Describe Occupational Safety & Health Act 514 (OSHA) 1994 requirement for single phase wiring maintenance work. - List authorisation requirement to access site for single phase wiring maintenance work, such as: - Green card, - Safety passport. |  |  |
| Work Activity 2 | Identify single phase wiring tool, equipment and material | 4 |
| Learning Objectives At the end of learning session the apprentice will be able to: - List type of tools and equipment for single phase wiring maintenance. - List types of electrical cable for single phase wiring maintenance. - List types of electrical equipment and accessories for single phase wiring. - Explain operation procedure of electrical testing instrument for single phase. - Explain requirement before operate the electrical testing instrumentation for single phase, such as: - Calibration, - Adjustment. |  |  |
| Work Activity 3 | Carry out electrical wiring inspection | 4 |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain to find out circuit diagram for single phase wiring. - Elaborate procedure to inspect single phase electrical wiring condition. - Explain single phase electrical wiring inspection procedure, such as: 3.1 Visual inspection, 3.2 Check, - Explain scope of single phase wiring inspection, such as: 4.1 Wiring performance, 4.2 Distribution system failure, 4.3 Termination. - Describe single phase electrical wiring inspection checklist format. |  |  |
| Work Activity 4 | Carry out electrical wiring maintenance | 4 |
| Learning Objectives At the end of learning session the apprentice will be able to: - List type of PPE for maintenance work of single phase wiring. - Describe operation of single phase wiring maintenance, such as: - Short term effect - Long term effect - Explain single phase electrical wiring testing methods, such as: - Insulation, - Continuity, - Polarity, - Earthing, - Residual Current Device (RCD Test). - Explain procedures to rectify single phase electrical wiring fault. - Explain single phase electrical wiring faulty accessories. - Explain to select suitable tools, equipment and material for maintenance work. - Elaborate single phase wiring electrical circuit diagram for maintenance work. - Describe replacement procedure for faulty accessories of single phase electrical wiring. - Elaborate performance of single phase electrical wiring compare according to specification, such as: - Cable, - Accessories, - System. |  |  |
| Work Activity 5 | Inspect electrical wiring functionality | 4 |
| Learning Objectives At the end of learning session the apprentice will be able to: - List type of PPE for single phase wiring inspection. - Explain single phase electrical wiring inspection methods, such as: - Visual inspection, - Physical Check, - Explain procedures to rectify single phase electrical wiring fault. - Explain single phase electrical wiring faulty accessories. - Explain to select suitable tools, equipment and material for inspection work. - Elaborate single phase wiring electrical circuit diagram for inspection work. - Describe replacement procedure for faulty accessories of single phase electrical wiring. - Elaborate performance of single phase electrical wiring according to specification. |  |  |
| Work Activity 6 | Record wiring system maintenance activities | 2 |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain single phase wiring maintenance recording procedure. - Explain single phase record testing format. - List schedule maintenance activities work. - Explain single phase wiring maintenance report submission procedure. |  |  |
| TOTAL (CU 3.1 : SINGLE PHASE WIRING MAINTENANCE) |  | 32 |