| TRAINING OCCUPATION: ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |
| --- | --- | --- |
| CWP 5: ELECTRICAL MAINTENANCE & TROUBLESHOOTING |  |  |
| CU 5.2 : THREE PHASE WIRING MAINTENANCE |  | CODE: |
| Work Activity 1 | Identify three phase wiring maintenance requirement | Duration: 2 hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain three phase wiring maintenance activities, such as: - Preventive - Corrective 2. Explain electrical fault for three phase wiring, such as: - Under/ Over voltage, - Phasing/ neutral lost, - Shorted circuit-phase to phase, phase to neutral, - Over load, - Earth fault- leakage, - Open circuit, - Loose termination. - Explain trigger three phase wiring schematic diagram for maintenance work. - Explain procedure to carry out site visit for three phase wiring preventive maintenance. - Explain procedure to carry out three phase wiring maintenance. - Describe Electrical Act & Regulation and Standard for maintenance work, such as: - Electrical Regulation 1994 - MS IEC 60364 - MS 1936: 2006 Guide to MS IEC 60364 - MS 1979: 2007 Electrical Installation of Buildings – Code of practice - Based on latest instruction by regulatory body - Describe Occupational Safety & Health Act 514 (OSHA) 1994 requirement for three phase wiring maintenance work. - List authorisation requirement to access site for three phase wiring maintenance work, such as: - Green card, - Safety passport. |  |  |
| Work Activity 2 | Identify three phase wiring tool, equipment and material | Duration: 2 hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - List wiring tools and equipment for three phase wiring maintenance. - List types of electrical cable for three phase wiring maintenance. - List types of electrical equipment and accessories for three phase wiring. - Explain operation procedure of electrical testing instrument for three phase. - Explain requirement before operate the electrical testing instrumentation for three phase, such as: - Calibration, - Adjustment. |  |  |
| Work Activity 3 | Carry out electrical wiring inspection | Duration: 2 hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain to find out circuit diagram for three phase wiring. - Elaborate procedure to inspect three phase electrical wiring condition. - Explain three phase electrical wiring inspection procedure, such as: 3.1 Visual inspection, 3.2 Check, - Explain scope of three phase wiring inspection, such as: 4.1 Wiring performance, 4.2 Distribution system failure, 4.3 Termination. - Describe three phase electrical wiring inspection checklist format. |  |  |
| Work Activity 4 | Carry out electrical wiring maintenance | Duration: 2 hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - List type of PPE for maintenance work of three phase wiring. - Describe operation of three phase wiring maintenance, such as: - Short term effect - Long term effect - Explain three phase electrical wiring testing methods, such as: - Insulation, - Continuity, - Polarity, - Earthing, - Residual Current Device (RCD Test), - Phase sequence/ Resistance box. - Explain procedures to rectify three phase electrical wiring fault. - Explain three phase electrical wiring faulty accessories. - Explain to select suitable tools, equipment and material for maintenance work. - Elaborate three phase wiring electrical circuit diagram for maintenance work. - Describe replacement procedure for faulty accessories of three phase electrical wiring. - Elaborate performance of three phase electrical wiring compare according to specification, such as: - Cable, - Accessories, - System. |  |  |
| Work Activity 5 | Inspect electrical wiring functionality | Duration: 2 hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - List type of PPE for three phase wiring inspection. - Explain three phase electrical wiring inspection methods, such as: - Visual inspection, - Check, - Explain procedures to rectify three phase electrical wiring fault. - Explain three phase electrical wiring faulty accessories. - Explain to select suitable tools, equipment and material for inspection work. - Elaborate three phase wiring electrical circuit diagram for inspection work. - Describe replacement procedure for faulty accessories of three phase electrical wiring. - Elaborate performance of three phase electrical wiring according to specification. |  |  |
| Work Activity 6 | Record wiring system maintenance activities | Duration: 2 hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain three phase wiring maintenance recording procedure. - Explain three phase record testing format. - List schedule maintenance activities work. - Explain three phase wiring maintenance report submission procedure. |  |  |
| TOTAL (CU 3.2 : THREE PHASE WIRING MAINTENANCE) |  | 12 |