| TRAINING OCCUPATION: ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |
| --- | --- | --- |
| CWP 5: ELECTRICAL MAINTENANCE & TROUBLESHOOTING |  |  |
| CU 5.4 : THREE PHASE ELECTRICAL APPLIANCES MAINTENANCE |  | CODE: |
| Work Activity 1 | Identify electrical appliances maintenance requirement, specification and manuals | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - List types of three phase home appliances, such as; - Three Phase Air Conditioning - Three phase motor - Explain three phase electrical appliances faults, such as: - Short circuit- Phase to phase, phase to neutral - Open circuit - Loose contact - Board faulty - Earth fault/ Leakage - Single phasing fault. - Explain three phase appliances following specification, such as: - Appliances of Standard such as :- IEC, MS IEC, MS, BS - MS IEC 60364 - MS 1936:2006 guide to MS IEC 60364 - MS 1979:2007 Electrical Installation of Buildings – Code of Practice - Based on latest instruction by regulatory body - Explain three phase appliances certification approval, such as: - Standard & Industrial Research Institute of Malaysia (SIRIM) - JKR LS |  |  |
| Work Activity 2 | Prepare three phase electrical appliances maintenance tools, equipment and materials | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - List type of three phase maintenance tools, equipment, materials and personal protective equipment (PPE). - List types of electrical cable used three phase appliances. - List types of electrical equipment and accessories for three phase appliances. - Explain operating procedure of three phase electrical testing instrument. - Explain calibration requirement for electrical testing instrumentation - Explain electrical appliances manufacturer’s specification and operation manual |  |  |
| Work Activity 3 | Carry out electrical appliances inspection | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain to find out circuit diagram for appliances. - Elaborate procedure to inspect three phase electrical appliances condition. - Explain three phase electrical appliances inspection procedure, such as: 3.1 Visual inspection, 3.2 Check/ Testing, 3.3 Test run. - Explain scope of three phase appliances inspection, such as: 4.1 Operation performance, 4.2 Structure/ body failure. - Describe three phase electrical appliances inspection checklist format. |  |  |
| Work Activity 4 | Carry out electrical appliances maintenance | Duration: 6 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Describe application of PPE for maintenance work of three phase appliances. - Explain three phase electrical appliances testing methods, such as: - Insulation - Continuity - Polarity - Earthing - Explain procedures to rectify three phase electrical appliances fault. - Explain three phase electrical appliances faulty part. - Explain to select suitable tools, equipment and material for maintenance work. - Elaborate three phase appliances electrical circuit diagram. - Describe replacement procedure for faulty parts of three phase electrical appliances. - Elaborate performance of three phase electrical appliances compare to specification technical data. - Describe spare parts acquired for electrical appliances - Describe types of application and protection devices - Specification technical data |  |  |
| TOTAL (CU 3.4 : THREE PHASE ELECTRICAL APPLIANCES MAINTENANCE) |  | Duration: 18 Hours |