Continues Assessment Sheet for Apprentice – Accredited Center (Company)

LEARN AND WORK ASIGNMENT (LWA)

| Sub Sector | ELECTRICAL POWER |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Training Occupation / Job Area | ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |  |  |  |  |  |  |  |  |  |  |
| Competency Unit Title | ELECTRICAL SIGNAGE(NEON) INSTALLATION & MAINTENANCE |  |  |  |  |  |  |  |  |  |  |  |  |
| Competency Unit Descriptor | Electrical signage (neon) installation & maintenance is to carry out activities for electrical signage (neon) system according to Electrical Act 1990, Electrical Regulation 1994 and other related rules and regulations body and statutory requirements. The personnel who are competent in the electrical signage (neon) installation & maintenance must be able to identify electrical signage (neon) installation requirements and procedures, carry out electrical signage (neon) installation & maintenance, carry out electrical testing including resistance testing, polarity testing, continuity testing, earthing testing and to prepare installation & maintenance report on electrical signage (neon) installation & maintenance |  |  |  |  |  |  |  |  |  |  |  |  |
| Competency Unit Code |  | Competency Type |  | Elective | Level |  | 3 |  | Duration | 48 |  | Credit Hours |  |
| Social Values & Social Skills: | Compliance - Conceptual skills - Learning skills |  | Self-reliance - Learning skills - Multitasking and prioritizing |  |  | Cooperation - Communication skills - Interpersonal skills - Teamwork |  |  |  |  | Punctuality - Leadership skills - Self-discipline |  |  |
| Tools/ Technologies, Equipment and Materials (TEM) |  |  |  |  |  |  |  | Ratio (TEM : Apprentices) |  |  |  |  |  |
| - Schematic diagram - Block Diagram - Measuring and Test Instruments - Components/Parts Specification - Distribution Boards - Trunking Tools - Equipment Data Book - IEE Regulation book - Electrical Equipment - Electrical hand tools - Electrical power tools - Electrical Accessories - Electrical Fittings - Electrical Testing Instrument - Double Insulated cable - Wiring lead - Wiring neil - Cables - PVC Tape - Standard Operating Proced |  |  |  |  |  |  |  | 1 : 1 1 : 1 1 : 1 1 : 1 1 : 2 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 |  |  |  |  |  |
| References/ Information Source |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Joshi. (2008). Residential, Commercial and Industrial Electrical Systems: Protection, testing and commissioning. Tata McGraw-Hill Education. - Keith Harker. (1998). Power System Commissioning And Maintenance Practice. IET - Undang-Undang Malaysia. 2005. Akta Bekalan Elektrik 1990 dan Peraturan-Peraturan Elektrik 1994, Pindaan sehingga 2005. MDC Publisher Sdn Bhd Malaysia. - Suruhanjaya Tenaga Malaysia. Standard Pendawaian Malaysia (Electrical Installations Of Buildings - MS IEC 60364) Jabatan Standard Malaysia - The Institution of Electrical Engineers, 1998, Peraturan-Peraturan bagi Pemasangan Elektrik, Edisi 16. Golden Books Centre Sdn Bhd |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instructions, Guiding Questions & Hints Use the following instructions, guiding questions and hints in assisting you to complete the above assignment - Setting Goal: Identify electrical signage (neon) installation requirement based on site survey - Identify location for installation - Outdoor (roof top, billboard, signboard) - Indoor (signage, decoration, advertisement) - Identify design of neon - Fix - Movement - Identify source of power supply. - Identify platform structure & concrete base on site (Based on design neon requirement) - Identify setting for pylon to install billboard-frame on site (Based on design neon requirement) - Request permission from BOMBA before start neon installation. - Refer to BOMBA permission procedure - Identify location to install the safety switch according to Electrical Regulation requirement. - fire man switch - Control switch - Planning: Plan the electrical signage (neon) installation requirement activities - Identify load capacity of neon: - Calculate amount of lumen (Lux) - Calculate length of neon tube - Measure voltage range/variation - Identify supporting material requirement: - Identify amount of neon support structure according to total weight (angle iron, bracket) - Identify type of frame dimension structure specification - Identify type of screening net (for earthing system) - Identify safety signage requirement according to Electrical Regulation for neon sign installation: - Danger high voltage label - Fireman switch label - Control switch label - Safety notice as required - Identify tools and equipment for installation and testing of neon - Identify time frame for neon installation (project duration) - Identify manpower requirement for installation work - Schedule the activities of the installation. - Identify Logistic: - handling procedure to transfer the motor - type of transport - storage on site of motor - Decision Making: Prepare the electrical signage (neon) installation requirement activities by present the work plan to coach before executing the assignment - Confirm the load capacity of neon. - Select supporting material requirement. - Select safety signage requirement according to Electrical Regulation for neon sign installation. - Select tools and equipment for installation and testing of neon - Confirm the time frame for neon installation (project duration). - Select the manpower requirement for installation work - Confirm the scheduled activities. - Select the logistic. - Executing and Monitoring: Perform electrical signage(neon) installation & maintenance - Install neon support structure - Ensure high according to specification - Install frame with screening net - Ensure the alignment of installation - Ensure earth conductor is connected - Install neon tube holder - Ensure the holder location according to shape of neon design - Fix neon tube onto holder - Connect and terminate point of neon tube in proper order - Ensure the tightness of neon tube at holder - Install wiring high voltage & low voltage according to wiring diagram - Install control and fireman switch according to Electrical Regulation requirement. - Install safety signage (notice) at the located location according to Electrical Regulation requirement. - Make sure portray the attitude and adhere to the safety listed below when performing this cycle’s activities. Attitude: - Barricade for high voltage transformer - Safety and danger signage surrounding installation - Fire man switch install according authority specification - Housekeeping Safety: - Use appropriate PPE Use PPE (Glove, Goggle, Safety boot) - Evaluating: Evaluate the installed & maintained of electrical signage(neon) with your coach - Confirm all neon installation according to specification. - Apply visual inspection (tidiness & tightness of installation) - Produce inspection report according to power supply authority requirement - Ensure follow Electrical regulations (Form G) - Carry out dead circuit test (Pre-test: without supply) according to power supply authority requirement - Perform Insulation test - Perform polarity test - Perform Earth continuity test - Perform Earth resistance test - Rectify / Coordinate rectification work for non-compliance test result - Produce Test report according to power supply authority requirement - Ensure follow Electrical regulations (Form H) - Prepare Test result - Prepare As-built schematic drawing (if necessary) - Submit documentation for power supply application - 18.1 Form G & H - 18.2 Test result - 18.3 schematic drawing (latest) - 18.4 Power supply application form - Make sure portray the attitude listed below when performing this cycle’s activities. Attitude : - Neat and tidy - Alertness |  |  |  |  |  |  |  |  |  |  |  |  |  |