Continues Assessment Sheet for Apprentice – Accredited Center (Company)

LEARN AND WORK ASIGNMENT (LWA)

| Sub Sector | ELECTRICAL POWER |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Training Occupation / Job Area | ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |  |  |  |  |  |  |  |  |  |  |
| Competency Unit Title | SINGLE PHASE WIRING MAINTENANCE |  |  |  |  |  |  |  |  |  |  |  |  |
| Competency Unit Descriptor | Single phase wiring is a list of maintenance activity to carry out maintenance work on wiring system for Single Phase based drawing given by utilizing wiring tools, equipment and materials in compliance with Electrical Act 1990, Electrical Regulation 1994 and other related rules and regulations body and statutory requirements. The personnel who are competent in the single phase electrical wiring maintenance must be able to interpret single phase wiring diagram, carry out electrical wiring inspection and maintenance and to conduct continuity, polarity, insulation resistance and earthing resistance testing |  |  |  |  |  |  |  |  |  |  |  |  |
| Competency Unit Code |  | Competency Type |  | Core | Level |  | 2 |  | Duration | 50 |  | Credit Hours |  |
| Social Values & Social Skills: | Compliance - Conceptual skills - Learning skills |  | Self-reliance - Learning skills - Multitasking and prioritizing |  |  | Cooperation - Communication skills - Interpersonal skills - Teamwork |  |  |  |  | Punctuality - Leadership skills - Self-discipline |  |  |
| Tools/ Technologies, Equipment and Materials (TEM) |  |  |  |  |  |  |  | Ratio (TEM : Apprentices) |  |  |  |  |  |
| - Schematic diagram - Block Diagram - Measuring and Test Instruments - Components/Parts Specification - Distribution Boards - Trunking Tools - Equipment Data Book - Electrical Equipment - Electrical hand tools - Electrical power tools - Electrical Mechanical tools - Electrical Accessories - Electrical Fittings - Electrical Testing Instrument - Double Insulated cable - Wiring lead - Wiring neil - Cables - PVC Tape - Standard Operating Procedure |  |  |  |  |  |  |  | 1 : 1 1 : 1 1 : 1 1 : 1 1 : 2 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 |  |  |  |  |  |
| References/ Information Source |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Undang-Undang Malaysia. 2005. Akta Bekalan Elektrik 1990 dan Peraturan-Peraturan Elektrik 1994, Pindaan sehingga 2005. MDC Publisher Sdn Bhd Malaysia. - Suruhanjaya Tenaga Malaysia. Standard Pendawaian Malaysia (Electrical Installations Of Buildings - MS IEC 60364) Jabatan Standard Malaysia - The Institution of Electrical Engineers, 1998, Peraturan-Peraturan bagi Pemasangan Elektrik, Edisi 16. Golden Books Centre Sdn Bhd - BS 7671: 2001 Requirements for Electrical Installations (IEE Wiring Regulations, Sixteenth Edition) Institution of Electrical Engineers - Giesecke, F. E. et. Al. 2002. Technical Drawing. Prentice Hall |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instructions, Guiding Questions & Hints Use the following instructions, guiding questions and hints in assisting you to complete the above assignment - Setting Goal: Identify single phase wiring maintenance by interpret requirement schematic diagram single phase wiring of maintenance site (if need perform site) - Identify types of maintenance activities to be performed either Preventive (plan / Condition) or Break Down. - refer to schedule provided for Preventive maintenance - Identify Report of maintenance or break down - Identify scope of work to be maintained: - protection device (at least once a month) - Wiring system (if necessary) - Identify site location for maintenance work - Acquire work permit from authority before access the site (Green Card-CIDB, safety passport-NIOSH) - Planning: Plan preparation requirement for maintenance work activities - Identify Lay out and schematic drawing of maintenance site - Determine procedure to carry out single phase wiring maintenance - Acquire wiring tools and equipment - Determine electrical testing equipment - Determine electrical wiring materials and accessories to be used for maintenance replacement - Make sure portray the attitude and adhere to the safety listed below when performing this cycle’s activities. Attitude: - Meticulous in interpreting calibration certificate - Handle wiring tools, equipment and testing tools with care Safety: - Ensure tools and equipment in good working condition - Decision Making: Prepare requirement for maintenance work activities by present the work plan to coach before executing the assignment - Select lay out and schematic drawing of maintenance site. - Select wiring tools and equipment. - Select electrical testing equipment. - Make sure bring all the selected electrical wiring materials and accessories to be used for maintenance activities. - Executing and Monitoring: Perform single phase maintenance - Inspect single phase wiring installation according to layout and schematic drawing - Make sure the actual wiring installation on site - Use proper test equipment according to the procedure. - Check/ trouble shoot wiring system and ensure the data result within specification - Perform visual inspection to identify the cable defect - Perform termination - Check/ trouble shoot protection device and ensure the data result within specification - Test functional of ELCB/ RCCB/ RCD/ MCCB by press test button, - Test functional of MCB/ Fuse and main switch, - Test polarity and earth continuity using socket tester. - Rectify the faulty single phase wiring installation. - Repair or Replace the faulty parts, - Prefer use certification part from SIRIM. - Make sure portray the attitude and adhere to the safety listed below when performing this cycle’s activities. Attitude: - Adhere to safety regulation, - Check thoroughly for electrical fault , - Adhere the procedure and instruction according operational manual. Safety: - Use appropriate PPE (glove, goggle, safety boot) during carry out wiring inspection activity, - Safety tools & equipment in proper order, - Check safety tools & equipment in proper order, - Safety tools & equipment in proper order, - Adhere to maintenance procedure, - Adhere to Code of ethics. - Evaluating: Evaluate the maintained single phase wiring performance with your coach. - Test the wiring to confirm maintenance worked result according to specification requirement. - Refer to MS IEC 60364 standard, code of practice, power supply authority. - Rectify / Coordinate rectification work for non-compliance test result. - Record the testing result in maintenance form. - Ensure the format according to company’s requirement. - Prepare maintenance result report. - Compile maintenance result report. - Submit maintenance result report to superior for endorsement by competence person. - Make sure portray the attitude and adhere to the safety listed below when performing this cycle’s activities. Attitude: - Neatness, - Housekeeping, - Submit report according to dateline. Safety: - Use appropriate PPE (glove, goggle, safety boot) during carry out wiring practical, - Safety tools & equipment in proper order, - Display safety sign board, - Lock main switch, - Ensure ‘OFF’ live supply. |  |  |  |  |  |  |  |  |  |  |  |  |  |